## Sheet1
2026 CDBG
SEWER PROJECT TECHNICAL SCORE
Project Name: | [5 empty] | Total Score | 0
Applicant:
Contact:
E-mail: |  |  |  | Phone:
Engineer:
Contact:
E-mail: |  |  |  | Phone:
Expires:
[5 empty] | Possible points | Actual Points
Correct application format |  |  |  |  | 1
1. Project Description:
2. Project Location:
3. Preliminary Project Discussion:
4. Detailed project cost:
5. Project Schedule:
6. Measurement
|  |  | Annual I/I entered |  | 1
|  |  | I/I less than 40% |  | 1
|  |  | Number of Overflows listed |  | 1
7. Mapping |  |  | Updated Map |  | 1
|  |  | Strategic numbering system or GIS |  | 1
8. Planning/Repair |  |  | Systemized method |  | 1
|  |  | Metering or run times and software |  | 1
9. Sustainability |  |  | streamline, automate, or improve ops |  | 1
|  |  | life cycle cost |  | 1
9. Problem being addressed
Treatment Plant Capacity
Exist. Average Daily Loading/Exist. Hydraulic Capacity
|  |  | 90% or greater |  | 90
|  |  | at 80 to 89% |  | 75
|  |  | at 70 to 79% |  | 60
|  |  | at 60 to 69% |  | 45
|  |  | at 50 to 59% |  | 30
|  |  | less than 50% |  | 0
Infiltration/ Inflow
Annual I/I
Basin I/I
|  |  | 60% or greater I/I |  | 90
|  |  | 50 to 59% I/I |  | 75
|  |  | 40 to 49% I/I |  | 60
|  |  | 30 to 39% I/I |  | 45
|  |  | 20 to 29% I/I |  | 30
|  |  | less than 20% I/I |  | 0
Lift Station Capacity
Avg Pump Station Run time per day (min):
|  |  | 800 min or greater |  | 90
|  |  | 700-799 min |  | 75
|  |  | 600-699 min |  | 60
|  |  | 550-599 min |  | 45
|  |  | 450-549 min |  | 30
|  |  | less than 450 min |  | 0
Failing Septic Tanks
Failing Septic Tanks/ Septic Tanks:
|  |  | 80 to 100% failing septic tanks |  | 90
|  |  | 70 to 79% failing septic tanks |  | 75
|  |  | 50 to 69% failing septic tanks |  | 60
|  |  | 30 to 49% failing septic tanks |  | 45
|  |  | 10 to 29% failing septic tanks |  | 30
|  |  | less than 10% failing septic tanks |  | 0
Aging Equipment
Age of Equipment/ Life Expectancy:
|  |  | 120% or greater |  | 90
|  |  | 105 to 119% |  | 75
|  |  | 90 to 104% |  | 60
|  |  | 75 to 89% |  | 45
|  |  | 50 to 74% |  | 30
|  |  | Less than 50% |  | 0
Quality and Operations
|  |  | urgent priority |  | 71-90
|  |  | high priority |  | 51-70
|  |  | medium priority |  | 31-50
|  |  | low priority |  | 0-30

## Bonus Points Scoring Guidance
Guidance for SEWER PROJECT APPLICATION
1. Measurement:
a. Annual I/I (%): (1 point for entering amount and 1 additional point if less than 40%)
b. Number of Sanitary Sewer Overflows + Releases: (1 point)
2. Mapping:
a. Is an up-to-date map included? (1 point, up-to-date means either continuous GIS or within past 3 years)
b. Does the map include a strategic numbering system or does the utility use GIS software? (1 point)
3. Planning/Repair (points given for a. OR b., not both)
a. Does the utility have a standardized pipeline condition assessment program including:
i. Locating I/I and Repairing lines using a systemized method: (1 point) Provide description of current method
ii/iii. Installing/Utilizing metering devices, run time tracking or other software management: (1 point) Provide name of software
b. Does the proposed project include:
i. Locating I/I and Repairing lines using a systemized method: (1 point) Provide description of current method
ii/iii. Installing/Utilizing metering devices, run time tracking or other software management: (1 point) Provide name of software
4. Sustainability
a. Does this project streamline, automate, or improve operations of the system (e.g. radio read meters, SCADA, RDII analysis)? (1 point)
b. Has a life cycle cost analysis evaluated materials used in the proposed project? (1 point)